## Slide 1: Energy transition in Bulgaria
The case for an accelerated switching from coal to gas-fired generation
SUMMARY REPORT – Original version
4 April 2019

## Slide 2: Bulgarian electricity market and outlook for coal and gas
The challenges to the future of coal generation and positive outlook for the gas sector create the opportunity to investigate the use of gas for coal-to-gas conversion as well as for new generation capacity that would ensure security of supply as coal generation is being retired.
We now present our methodology for the assessment of an accelerated conversion of a number of coal power stations to gas
The Bulgarian electricity market is still largely reliant on coal, which represented around half of total electricity generation in 2017
  Nuclear and hydro also account for a significant share of the energy mix
  Solar and wind developed quickly in 2011-12 but the reduction of renewables support has stalled the development of further renewable capacity
The wholesale market is currently transitioning towards fully liberalised market arrangements
In spite of being on track to achieve its 2020 targets, stricter EU targets to 2030 and higher EU ETS prices maintain incentives for continued decarbonisation, and put pressure on coal. Additionally, the emissions intensity of Bulgaria is the second highest in the EU
The Bulgarian government is currently developing its 2030 energy strategy and appears to provide continued support for coal power plants
In Bulgaria, coal power plants currently make a significant contribution to meeting baseload, heat and reserves needs. The reliance on power plants fired by low-quality coal (mostly lignite and brown coal) is associated with high levels of greenhouse gas emissions
The coal mining sector is a large employer in Bulgaria. It accounts for around 14,000 direct jobs concentrated in two mining regions
However, the coal sector is under significant pressure since the publication of the emissions standards associated with the EU Industrial Emissions Directive. Indeed, none of Bulgaria’s existing coal plants are currently compliant with such standards. For their continued operation, a number of them will submit a derogation request, while others are considering a fuel switch. Together with the end of generation quotas under new liberalised market arrangements, such developments offer the opportunity to consider the potential of gas in Bulgaria’s future generation mix
Historically, Bulgaria has purchased its gas under a long-term contract with Gazprom. Following an EU investigation, contract terms have been renegotiated. Prices can now be observed to track, and be related more closely to prices in Western European traded gas hubs
Additionally, there is spare capacity on the Bulgarian transmission network, and a number of interconnection and regional projects are being developed, which is likely to increase the number of gas supply sources available in the future
Bulgaria is studying the creation of a regional gas hub and increased national demand, including demand from power generation, would strengthen Bulgaria’s positioning as a regional gas hub
Market overview
Outlook for the coal sector
Outlook for the gas sector
In Bulgaria, coal generation is facing challenges, and there are significant opportunities for an increased role for gas

## Slide 3: Case studies – Conditions for a successful transition
The case studies of coal phase-out in Germany and Spain offer lessons for Bulgaria in relation to the restructuring of the coal sector. Adopting an integrated approach, which addresses the various concerns associated with the phase-out of coal, appears to be essential for a successful and socially acceptable transition:
Although high-level lessons can be drawn, transposing them to Bulgaria would entail adapting them to the elements of context specific to Bulgaria, such as the initial size and importance of the coal sector, the willingness and ability to provide the level of support required for a successful transition and the interaction with existing policies. In the next slide, we present an overview of the electricity sector in Bulgaria, as well as an outlook for the future use of coal and gas
Based on the case studies, we identify a number of enablers for the success of coal phase-out
The definition of the plan requires a clear political commitment to the objective of decarbonisation. Clear announcements, including a detailed roadmap around the planned exit, are necessary to enable operators to plan for the retirement of their capacity
The definition of the roadmap needs to involve stakeholders from the national, regional and local authorities, as well as unions, representatives of the industry and of the civil society. In this respect, having a clear vehicle such as the Coal commission in Germany, with a clear mandate, facilitates the process. Any support plan also needs to be agreed with the EU and designed in line with EU state aid law
Social acceptability is ensured through the negotiation of the phase-out plan with all relevant stakeholders and through the allocation of support such that the impacts of the transition are mitigated and new opportunities are generated in the coal regions
Aid needs to be allocated to power plant operators for any lost profits and to assist with the costs of closure (including early retirement plans for employees, redundancy packages, welfare benefits and retraining options). Measures should be taken to provide for managed transition of employment
Measures may be taken to insulate consumers and energy-intensive users from any resulting increases in power prices
Coal regions benefit from significant support during the transition period to finance the reconversion of the economy towards clean and competitive new industries and to facilitate the regeneration of mining sites. Regional plans for economic and environmental development need to involve regional stakeholders and to account for the specificities of each region. Additionally, retraining for ex-miners needs to be targeted towards new dynamic sectors
Political commitment to a clear and negotiated phase-out plan
Measures to ensure social acceptability
Phasing over several years gives time to operators to organize the transition and negotiate compensation, and enables to procure required capacity to ensure continued security of supply
If coal capacity represents a significant share of total generation, a specific plan needs to be implemented to ensure that security of supply is guaranteed throughout the phase-out. This may entail providing incentives such that new dispatchable generation capacity is built
Coal phase-out is most efficient as a decarbonisation tool if it is supported by high carbon prices and policies facilitating the development of renewable and alternative dispatchable generation on the system
Ensuring consistency with wider energy policy

## Slide 4: Base case vs Accelerated coal-to-gas conversion case
We have identified that Maritsa East 3, Ruse Iztok and Deven are candidates for coal-to-gas conversion to facilitate the modelling of a possible accelerated coal-to-gas conversion case
The 3 plants candidate for Accelerated coal-to-gas conversion amount to around 1,400MW of retired coal capacity
  We assume that they are replaced by 1,200 MW of CCGT
  This is a reasonable assumption based on the pace of coal retirement and on other assumptions relating to the deployment of other technologies such as renewables and nuclear over the same period
However, this selection is indicative and a similar assessment could be undertaken with a different set of coal power plants
  Changing the selection would only affect the outcome of the assessment through a change in the capacity of coal generation converted into gas
  This would result in a slight change in the costs and benefits of an accelerated gas conversion due to different wholesale market outcomes (including CO2 emissions) and CAPEX figures
The next slides present our modelling results and the outcomes of the societal CBA for an accelerated coal-to-gas conversion
The Accelerated coal-to-gas conversion case relies on an assumption of gas capacity built in the place of retired coal
Chart: Projected capacity evolution in the Accelerated coal-to-gas conversion
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4
 | 4.66 | 4.66 | 4.66 | 4.66 | 4.66 | 3.23 | 3.05 | 2.63 | 2.63 | 2.63 | 2.63 | 2.63 | 2.22 | 2.22 | 2.22 | 2.22 | 2.22 | 2.22 | 1.78 | 1.78 | 1.34 | 1.34 | 1.34 | 1.34 | 1.34 | 1.34 | 1.34 | 1.34 | 1.34 | 1.34 | 1.34 | 1.34 | 1.34
 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13
 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
 | 2.36 | 2.37 | 2.37 | 2.37 | 2.37 | 2.37 | 2.37 | 2.37 | 2.37 | 2.37 | 2.37 | 2.37 | 2.57 | 2.57 | 2.57 | 2.57 | 2.57 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87
 | 0.09 | 0.09 | 0.15 | 0.2 | 0.23 | 0.25 | 0.28 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.58 | 0.58 | 0.58 | 0.58 | 0.58 | 0.68 | 0.68 | 0.68 | 0.68 | 0.68 | 0.68 | 0.68 | 0.68 | 0.68 | 0.68
 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
 | 0.7 | 0.71 | 0.8 | 0.85 | 0.9 | 0.95 | 1 | 1.05 | 1.1 | 1.15 | 1.2 | 1.25 | 1.3 | 1.35 | 1.4 | 1.45 | 1.5 | 1.55 | 1.6 | 1.65 | 1.7 | 1.75 | 1.8 | 1.85 | 1.9 | 1.95 | 2 | 2.05 | 2.1 | 2.15 | 2.2 | 2.25 | 2.3
 | 1.05 | 1.05 | 1.15 | 1.3 | 1.45 | 1.6 | 1.75 | 1.9 | 2.05 | 2.2 | 2.35 | 2.5 | 2.65 | 2.85 | 3.05 | 3.25 | 3.45 | 3.65 | 3.85 | 4.05 | 4.25 | 4.45 | 4.65 | 4.85 | 5.05 | 5.25 | 5.45 | 5.65 | 5.85 | 6.05 | 6.25 | 6.45 | 6.65
 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93
 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
Chart: Projected capacity evolution in the Base case
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4
 | 4.66 | 4.66 | 4.66 | 4.66 | 4.66 | 4.66 | 4.49 | 4.01 | 4.01 | 4.01 | 4.01 | 4.01 | 3.6 | 3.6 | 3.6 | 3.2 | 2.86 | 2.86 | 2.42 | 2.42 | 1.98 | 1.76 | 1.76 | 1.34 | 1.34 | 1.34 | 1.34 | 1.34 | 1.34 | 1.34 | 1.34 | 1.34 | 1.34
 | 0.33 | 0.33 | 0.33 | 0.33 | 0.33 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 1.13 | 1.13 | 1.53 | 1.53 | 1.53 | 1.53 | 1.53 | 1.93 | 1.93 | 1.93 | 1.93 | 1.93 | 1.93 | 1.93 | 1.93 | 1.93 | 1.93 | 1.93
 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
 | 2.36 | 2.37 | 2.37 | 2.37 | 2.37 | 2.37 | 2.37 | 2.37 | 2.37 | 2.37 | 2.37 | 2.37 | 2.57 | 2.57 | 2.57 | 2.57 | 2.57 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87 | 2.87
 | 0.09 | 0.09 | 0.15 | 0.2 | 0.23 | 0.25 | 0.28 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.58 | 0.58 | 0.58 | 0.58 | 0.58 | 0.68 | 0.68 | 0.68 | 0.68 | 0.68 | 0.68 | 0.68 | 0.68 | 0.68 | 0.68
 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
 | 0.7 | 0.71 | 0.8 | 0.85 | 0.9 | 0.95 | 1 | 1.05 | 1.1 | 1.15 | 1.2 | 1.25 | 1.3 | 1.35 | 1.4 | 1.45 | 1.5 | 1.55 | 1.6 | 1.65 | 1.7 | 1.75 | 1.8 | 1.85 | 1.9 | 1.95 | 2 | 2.05 | 2.1 | 2.15 | 2.2 | 2.25 | 2.3
 | 1.05 | 1.05 | 1.15 | 1.3 | 1.45 | 1.6 | 1.75 | 1.9 | 2.05 | 2.2 | 2.35 | 2.5 | 2.65 | 2.85 | 3.05 | 3.25 | 3.45 | 3.65 | 3.85 | 4.05 | 4.25 | 4.45 | 4.65 | 4.85 | 5.05 | 5.25 | 5.45 | 5.65 | 5.85 | 6.05 | 6.25 | 6.45 | 6.65
 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93
 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
Coal capacity is retired and replaced by gas in the medium term
Coal
Pumped Storage
Nuclear
Wind Offshore
Gas
Oil
Hydro
Biomass and Waste
Wind Onshore
Solar
Other Renewables
Battery Storage

## Slide 5: Conclusions
In the transition towards the 2050 objectives set out in the Paris Agreement, stricter emissions standards and emissions targets have been adopted across Europe and coal generation is being phased out in a number of European countries
In the context of the definition of Bulgaria’s National Energy and Climate Plan for Bulgaria, we have undertaken a qualitative and quantitative assessment of an accelerated use of gas in the place of coal as a source of power generation in Bulgaria. Our analysis shows that there are significant benefits associated with an early conversion to gas, and a number of risks associated with the absence of such conversion
Drawing on the lessons highlighted in the country analogues, delivering a successful transition from coal to gas requires a strong political commitment, the involvement of the industry, unions and local authorities, a comprehensive support package and a consistent framework of energy policies
Total net benefits amount to around €2.4bn over 2025 – 2050. Benefits include:
  A reduction in CO2 emissions of 46 million tonnes, associated with lower costs (EUA and net social cost of carbon)
  The avoidance of significant health costs associated with pollution from coal power plants
  Avoided CAPEX for the compliance of coal power plants with the UE IED and lower fixed costs of gas power stations
Additionally, an accelerated coal-to-gas conversion facilitates the deployment of renewables on the system due to the high flexibility of gas generation
Our quantitative analysis shows that costs would be higher in the absence of an accelerated coal-to-gas switching
None of Bulgaria’s coal power plants are currently compliant with EU emissions norms: they are relying on significant investments, a derogation or a fuel switch to continue operating and may be required to close in 2021. Additionally, the continued use of coal without a degree of gas conversion would delay the achievement of Bulgaria’s decarbonisation objectives. As the decarbonisation agenda becomes more pressing, enforcement actions may be taken at the EU level to drive policy changes
Due to relatively low levels of domestic gas demand, Bulgaria may find it challenging to strengthen its position as a regional gas hub without an increase in domestic gas demand from power generation
Benefits of an accelerated conversion
Risks of status quo
In the medium term, the delivery of such transition in Bulgaria is largely dependent on the political willingness to embark on the path of decarbonisation. Such commitment may be explicitly made in the upcoming National Energy and Climate Plan and form the basis of an initial discussion with stakeholders

## Slide 6
This document: (a) is proprietary and confidential to Baringa Partners LLP (“Baringa”) and should not be disclosed to or relied upon by any third parties or re-used without Baringa's consent; (b) shall not form part of any contract nor constitute acceptance or an offer capable of acceptance; (c) excludes all conditions and warranties whether express or implied by statute, law or otherwise; (d) places no responsibility or liability on Baringa or its group companies for any inaccuracy, incompleteness or error herein; and (e) is provided in a draft condition “as is”. Any reliance upon the content shall be at user's own risk and responsibility. If any of these terms is invalid or unenforceable, the continuation in full force and effect of the remainder will not be prejudiced. Copyright © Baringa Partners LLP 2019. All rights reserved.